## Front_page
Standards and other recognised documents
Appendix 2 to the Guideline to the Measurement Regulation

## Overview
Section | AGA | API | ASME | ASTM | BIPM | GIIGNL | IEC | ISO | JCGM | NFOGM | NORSOK | Offshore Norge | OIML
3 |  | API MPMS 1 |  |  |  |  | IEC 60050 | ISO 4006 | JCGM 200
3 | [7 empty] | ISO 7504
3 | [7 empty] | ISO Guide 73
5 | [7 empty] | ISO 9001
5 | [7 empty] | ISO 10012
5 | [7 empty] | ISO 31000
6 | [7 empty] | ISO 19011
7 |  |  |  |  | SI-Brochure
7 |  | API MPMS 15 | [5 empty] | ISO 80000-1
8 | [7 empty] | ISO 91
8 | [7 empty] | ISO 13443
12 | [11 empty] | ON 044
12 | [11 empty] | ON 044 Vedl. B
14 | [7 empty] | ISO/IEC Guide 98-1 | JCGM 100
14 | [7 empty] | ISO/IEC Guide 98-4 | JCGM 104
14 | [7 empty] | ISO/IEC Guide 98-6 | JCGM GUM-6
15 |  | API MPMS 13.3 | [5 empty] | ISO/IEC Guide 98-1 | JCGM 100 | Handbook/Program |  | ON 044
15 |  | API TR 2579 | [5 empty] | ISO/IEC Guide 98-4 | JCGM 104 |  |  | ON 044 Vedl. B
15 | [7 empty] | ISO/IEC Guide 98-6 | JCGM GUM-6
15 | [7 empty] | ISO 5168
20 |  | API MPMS 10.9 |  | ASTM D4928 – 12
21 |  | API MPMS 8.3
21 |  | API MPMS 8.4
21 |  |  |  | ASTM D1945 - 14 |  |  |  | ISO 6974-1 |  |  | NORSOK I-106
21 |  | API MPMS 10.9 |  | ASTM D4928 – 12 |  |  |  | ISO 10337
21 |  |  |  | ASTM D5002 - 19 |  |  |  | ISO 12185
21 | [7 empty] | ISO 15212
21 |  |  |  | ASTM D5842-19
21 |  |  |  | ASTM D5854-19a
22 | [7 empty] | ISO/IEC 17025
22 | [7 empty] | ISO 9001
23 |  | API MPMS 20.1 | [5 empty] | ISO/TR 26762
28 |  | API MPMS 13.3 | [5 empty] | ISO/IEC Guide 98-1 | JCGM 100 | Handbook/Program
28 |  | API TR 2579 | [5 empty] | ISO/IEC Guide 98-4 | JCGM 104
28 |  | API MPMS 14.10 | [5 empty] | ISO/IEC Guide 98-6 | JCGM GUM-6
28 | [7 empty] | ISO 5168
31 |  |  | ASME PTC 19.3 TW |  |  |  | IEC 60751 |  |  |  | NORSOK I-001
34 |  | API MPMS 5.5 | [5 empty] | ISO 6551
35 |  | API MPMS 21.1 | [8 empty] | NORSOK I-106 |  | OIML R117-1
35 |  | API MPMS 21.2
36 |  | API MPMS 5.1 | [8 empty] | NORSOK I-106 |  | OIML R117-1
36 |  | API MPMS 6.1A
36 |  | API MPMS 6.3A
37 |  | API MPMS 4.1 | [5 empty] | ISO 7278-1
37 |  | API MPMS 4.5
38 |  | API MPMS 5.1 | [5 empty] | ISO 11631 |  |  |  |  | OIML R117-1
38 |  | API MPMS 5.3 | [5 empty] | ISO 2715
38 |  | API MPMS 5.6 | [5 empty] | ISO 10790
38 |  | API MPMS 5.8 | [5 empty] | ISO 12242
39 |  | API MPMS 4.2 | [5 empty] | ISO 7278-2 |  |  |  |  | OIML D 36
39 |  | API MPMS 4.6
39 |  | API MPMS 12.2.4
40 |  | API MPMS 4.5
41 |  | API MPMS 7 | [10 empty] | OIML R117-1
41 |  | API MPMS 7.4
42 |  | API MPMS 8.1 | [5 empty] | ISO 3170
42 |  | API MPMS 8.2 | [5 empty] | ISO 3171
42 |  | API MPMS 8.3
42 |  | API MPMS 8.4
43 |  | API MPMS 11.1 | [5 empty] | ISO 91 |  |  |  |  | OIML D 35
43 |  | API MPMS 11.2.2M | [5 empty] | ISO 7278-3
43 |  | API MPMS 11.5
43 |  | API MPMS 12.2
43 |  | API MPMS 12.2.1
43 |  | API MPMS 12.2.3
43 |  | API MPMS 12.2.4
43 |  | API MPMS 12.2.5
43 |  | API MPMS 13.2
44 | [7 empty] | ISO 15112 |  |  | NORSOK I-106 |  | OIML R137-1&2
46 | AGA Report 7 | [6 empty] | ISO 11631
46 | AGA Report 9 | [6 empty] | ISO 5187-1
46 | AGA Report 11 | [6 empty] | ISO 5167-2
46 | [7 empty] | ISO 5167-5
46 | [7 empty] | ISO 9951
46 | [7 empty] | ISO 10790
46 | [7 empty] | ISO 17089-1
46 | [7 empty] | ISO 17089-2
47 | [7 empty] | ISO 15970
48 |  |  |  | ASTM D1945 - 14 |  |  |  | ISO 6974-1 |  |  | NORSOK I-106
48 | [7 empty] | ISO 6974-2
48 | [7 empty] | ISO 6974-3
48 | [7 empty] | ISO 6974-4
48 | [7 empty] | ISO 6974-5
48 | [7 empty] | ISO 6974-6
48 | [7 empty] | ISO/TR 14749
49 |  | API MPMS 14.1 | [5 empty] | ISO 10715
50 | AGA 8 Part 1 | [6 empty] | ISO 6976
50 | AGA 8 Part 2 | [6 empty] | ISO/TR 29922
50 | [7 empty] | ISO 12213-1
50 | [7 empty] | ISO 12213-2
50 | [7 empty] | ISO 12213-3
51 |  | API MPMS 20.3 | [5 empty] | ISO/TC 21354
52 |  | API MPMS 20.3 | [5 empty] | ISO/TC 21354
53 |  | API MPMS 20.3 | [5 empty] | ISO/TC 21354
55 |  | API MPMS 20.1 | [5 empty] | ISO/TC 21354
56 | [5 empty] | LNG Handbook
57 | [5 empty] | LNG Handbook |  | ISO 10976
57 | [7 empty] | ISO 8310
58 | [5 empty] | LNG Handbook |  | ISO 8943
60 | [5 empty] | LNG Handbook |  | ISO 6578
61 | [5 empty] | LNG Handbook
65 | [7 empty] | ISO/IEC 17025
65 | [7 empty] | ISO 9001
66 | [7 empty] | ISO 5168 | JCGM 106 |  |  |  | OIML R137-1&2
66 | [7 empty] | ISO 17089 |  |  |  |  | OIML G 19
67 |  | API MPMS 5.3 | [5 empty] | ISO 2715 |  |  |  |  | OIML R117-2
67 |  | API MPMS 5.6 | [5 empty] | ISO 10790
67 |  | API MPMS 5.8 | [5 empty] | ISO 12242
68 |  | API MPMS 4.9.1 | [5 empty] | ISO 7278-2
68 |  | API MPMS 4.9.2
68 |  | API MPMS 4.9.3
68 |  | API MPMS 4.9.4
69 |  | API MPMS 4.5
70 | AGA Report 7 | [6 empty] | ISO 9951 |  |  |  |  | OIML R137-1&2
70 | AGA Report 9 | [6 empty] | ISO 10790
70 | AGA Report 11 | [6 empty] | ISO 17089-1
70 | [7 empty] | ISO 17089-2
72 |  | API MPMS 7.4 | [5 empty] | ISO 15970
72 |  | API MPMS 9.4
73 |  |  |  | ASTM D1945 - 14 |  |  |  | ISO 10723 |  |  | NORSOK I-106
74 |  | API MPMS 8.1 | [5 empty] | ISO 3170
74 |  | API MPMS 8.2 | [5 empty] | ISO 3171
74 |  | API MPMS 8.3
74 |  | API MPMS 8.4
76 |  | API MPMS 21.1 | [8 empty] | NORSOK I-106
76 |  | API MPMS 21.2
76 | [10 empty] | NORSOK I-106
77 |  | API MPMS 8.2 | [8 empty] | NORSOK I-106
82 | [7 empty] | ISO 5168 | JCGM 106 |  |  |  | OIML R137-1&2
83 |  | API MPMS 13.2
84 |  | API MPMS 4.8
88 |  |  |  | ASTM D1945 - 14 |  |  |  | ISO/TR 14749 |  |  | NORSOK I-106
Note on A2: § 3. Definition
Note on A3: § 3. Definition
Note on A4: § 3. Definition
Note on A5: § 5. Management system
Note on A6: § 5. Management system
Note on A7: § 5. Management system
Note on A8: § 6. Internal audits
Note on A9: § 7. Measurement units
Note on A10: § 7. Measurement units
Note on A11: § 8. Reference conditions
Note on A12: § 8. Reference conditions
Note on A13: § 12.Methods for measuring burnt petroleum and gas emitted to air
Note on A14: § 12.Methods for measuring burnt petroleum and gas emitted to air
Note on A15: § 14. Measurement model
Note on A16: § 14. Measurement model
Note on A17: § 14. Measurement model
Note on A18: § 15. Uncertainty budget
Note on A19: § 15. Uncertainty budget
Note on A20: § 15. Uncertainty budget
Note on A21: § 15. Uncertainty budget
Note on A22: § 20. Measurands and uncertainty limits
Note on A23: § 21. Requirements for analysis methods
Note on A24: § 21. Requirements for analysis methods
Note on A25: § 21. Requirements for analysis methods
Note on A26: § 21. Requirements for analysis methods
Note on A27: § 21. Requirements for analysis methods
Note on A28: § 21. Requirements for analysis methods
Note on A29: § 21. Requirements for analysis methods
Note on A30: § 21. Requirements for analysis methods
Note on A31: § 22. Laboratory requirements
Note on A32: § 22. Laboratory requirements
Note on A33: § 23. Allocation system
Note on A34: § 28. Instrumental measurement uncertainty
Note on A35: § 28. Instrumental measurement uncertainty
Note on A36: § 28. Instrumental measurement uncertainty
Note on A37: § 28. Instrumental measurement uncertainty
Note on A38: § 31. Measurement of temperature and pressure
Note on A39: § 34. Electronics
Note on A40: § 35. Computer system
Note on A41: § 35. Computer system
Note on A42: § 36. Components of the oil measuring system
Note on A43: § 36. Components of the oil measuring system
Note on A44: § 36. Components of the oil measuring system
Note on A45: § 37. Calibration methods for oil meters
Note on A46: § 37. Calibration methods for oil meters
Note on A47: § 38. Oil meter
Note on A48: § 38. Oil meter
Note on A49: § 38. Oil meter
Note on A50: § 38. Oil meter
Note on A51: § 39. Displacement prover
Note on A52: § 39. Displacement prover
Note on A53: § 39. Displacement prover
Note on A54: § 40. Master meter prover
Note on A55: § 41. Measuring instruments associated with oil measuring system
Note on A56: § 41. Measuring instruments associated with oil measuring system
Note on A57: § 42. Sampling equipment
Note on A58: § 42. Sampling equipment
Note on A59: § 42. Sampling equipment
Note on A60: § 42. Sampling equipment
Note on A61: § 43. Algorithms and equations
Note on A62: § 43. Algorithms and equations
Note on A63: § 43. Algorithms and equations
Note on A64: § 43. Algorithms and equations
Note on A65: § 43. Algorithms and equations
Note on A66: § 43. Algorithms and equations
Note on A67: § 43. Algorithms and equations
Note on A68: § 43. Algorithms and equations
Note on A69: § 43. Algorithms and equations
Note on A70: § 44. Components of the gas measuring system
Note on A71: § 46. Gas meter
Note on A72: § 46. Gas meter
Note on A73: § 46. Gas meter
Note on A74: § 46. Gas meter
Note on A75: § 46. Gas meter
Note on A76: § 46. Gas meter
Note on A77: § 46. Gas meter
Note on A78: § 46. Gas meter
Note on A79: § 47. Measuring instruments associated with gas measuring system
Note on A80: § 48. On line gas chromatograph
Note on A81: § 48. On line gas chromatograph
Note on A82: § 48. On line gas chromatograph
Note on A83: § 48. On line gas chromatograph
Note on A84: § 48. On line gas chromatograph
Note on A85: § 48. On line gas chromatograph
Note on A86: § 48. On line gas chromatograph
Note on A87: § 49. Sampling equipment
Note on A88: § 50. Algorithms and equations
Note on A89: § 50. Algorithms and equations
Note on A90: § 50. Algorithms and equations
Note on A91: § 50. Algorithms and equations
Note on A92: § 50. Algorithms and equations
Note on A93: § 51. Components of the multiphase measuring system
Note on A94: § 52. Calibrations methods for multiphase meters
Note on A95: § 53. Multiphase meter
Note on A96: § 55. Algorithms and equations
Note on A97: § 56. General requirements for measurement of LNG
Note on A98: § 57. Static measurement of volume and mass
Note on A99: § 57. Static measurement of volume and mass
Note on A100: § 58. Sampling equipment
Note on A101: § 60. Density and calorific value
Note on A102: § 61. Measurement of the energy of displaced gas and consumed gas
Note on A103: § 65. Use of laboratories for calibration
Note on A104: § 65. Use of laboratories for calibration
Note on A105: § 66. Measurement standards
Note on A106: § 66. Measurement standards
Note on A107: § 67. Flow calibration of oil meters
Note on A108: § 67. Flow calibration of oil meters
Note on A109: § 67. Flow calibration of oil meters
Note on A110: § 68. Calibration of displacement prover
Note on A111: § 68. Calibration of displacement prover
Note on A112: § 68. Calibration of displacement prover
Note on A113: § 68. Calibration of displacement prover
Note on A114: § 69. Flow calibration of master meters
Note on A115: § 70. Flow calibration of gas meters
Note on A116: § 70. Flow calibration of gas meters
Note on A117: § 70. Flow calibration of gas meters
Note on A118: § 70. Flow calibration of gas meters
Note on A119: § 72. Calibration and verification of associated measuring instruments
Note on A120: § 72. Calibration and verification of associated measuring instruments
Note on A121: § 73. Verification of gas chromatographs
Note on A122: § 74. Verification of sampling equipment
Note on A123: § 74. Verification of sampling equipment
Note on A124: § 74. Verification of sampling equipment
Note on A125: § 74. Verification of sampling equipment
Note on A126: § 76. Verification of computer systems
Note on A127: § 76. Verification of computer systems
Note on A128: § 76. Verification of computer systems
Note on A129: § 77. Testing of assembled measuring systems and automatic sampling systems
Note on A130: § 82. Evaluation of measurement data during verification
Note on A131: § 83. Operation and maintenance of oil meters
Note on A132: § 84. Operation and maintenance of provers
Note on A133: § 88. Operation and maintenance of online gas chromatographs

## AGA
Reference | Title | Edition | Note
AGA Report 7 | Measurement of Natural Gas by Turbine Meters | Revised February 2006
AGA 8 Part 1 | Thermodynamic Properties of Natural Gas and Related Gases DETAIL and GROSS Equations of State | Third Edition, 2017 (A revision of AGA report No. 8, 2nd edition 1994)
AGA 8 Part 2 | Thermodynamic Properties of Natural Gas and Related Gases GERG–2008 Equation of State | First Edition 1, 2017
AGA Report 9 | Measurement of Gas by Multipath Ultrasonic Meters | Fourth Edition, 2022
AGA Report 11 | Measurement of Natural Gas by Coriolis Meter | Second Edition, 2013

## API
Reference | Title | Edition | Note
API MPMS 1 | Vocabulary | Second edition, July 1994
API MPMS 4.1 | Proving Systems. Section 1—Introduction | Third edition, February 2005 | Reaffirmed, June 2014
API MPMS 4.2 | Proving Systems. Section 2—Displacement Provers | Third edition, September 2003 | Reaffirmed, December 2022. Addendum, February 2015
API MPMS 4.5 | Master Meter Provers | Fourth edition, June 2016
API MPMS 4.6 | Proving Systems. Section 6—Pulse Interpolation | Third edition, October 2021
API MPMS 4.7 | Proving Systems. Section 7—Field Standard Test Measures | Third edition, April 2009 | Reaffirmed, June 2014
API MPMS 4.8 | Operation of Proving Systems | Third edition, July 2021
API MPMS 4.9.1 | Proving Systems. Section 9—Methods of Calibration for Displacement and Volumetric Tank Provers. Part 1—Introduction to the Determination of the Volume of Displacement and Tank Provers | Second edition, April 2022
API MPMS 4.9.2 | Proving Systems. Section 9—Methods of Calibration for Displacement and Volumetric Tank Provers. Part 2—Determination of the Volume of Displacement and Tank Provers by the Waterdraw Method of Calibration | First edition, December 2005 | Reaffirmed, July 2015
API MPMS 4.9.3 | Proving Systems. Section 9—Methods of Calibration for Displacement and Volumetric Tank Provers. Part 3—Determination of the Volume of Displacement Provers by the Master Meter Method of Calibration | First edition, April 2010 | Reaffirmation, March 2015
API MPMS 4.9.4 | Proving Systems. Section 9—Methods of Calibration for Displacement and Volumetric Tank Provers. Part 4—Determination of the Volume of Displacement and Tank Provers by the Gravimetric Method of Calibration | First edition, October 2010. Errata 1, August 2016 | Reaffirmed, September 2021
API MPMS 5.1 | Metering. Section 1—General Considerations for Measurement by Meters | Fourth edition, September 2005. Errata 1, June 12, 2008 errata 2, June 27, 2011 | Reaffirmed, December 2022
API MPMS 5.2 | Metering. Section 2—Measurement of Liquid Hydrocarbons by Displacement Meters | Third edition, September 2005 | Reaffirmed, December 2020
API MPMS 5.3 | Metering. Section 3—Measurement of Liquid Hydrocarbons by Turbine Meters | Fifth edition, September 2005 | Reaffirmed: august 1, 2014
API MPMS 5.4 | Metering. Section 4—Accessory Equipment for Liquid Meters | Fourth edition, September 2005. Errata, May 2015 | Reaffirmed, August 2015
API MPMS 5.5 | Metering. Section 5—Fidelity and Security of Flow Measurement Pulsed-data Transmission Systems | Second edition, August 2005 | Reaffirmed, August 2015
API MPMS 5.6 | Metering. Section 6—Measurement of Liquid Hydrocarbons by Coriolis Meters | Second edition, December 2021
API MPMS 5.8 | Measurement of Liquid Hydrocarbons by Ultrasonic Flow Meters | Second edition, November 2011. Errata, February 2014 | Reaffirmed, May 2017
API MPMS 6.1A | Metering Assemblies—General Considerations | First edition, July 2021
API MPMS 6.3A | Metering Assemblies—Pipeline and Marine Loading/Unloading Measurement Systems | First edition, July 2021
API MPMS 7 | Temperature Determination | First edition, June 2001 | Reaffirmed, February 2012
API MPMS 7.4 | Temperature Determination. Section 4—Dynamic Temperature Measurement | Second edition, January 2018
API MPMS 8.1 | Standard Practice for Manual Sampling of Petroleum and Petroleum Products | Sixth edition, September 2022
API MPMS 8.2 | Standard Practice for Automatic Sampling of Petroleum and Petroleum Products | Sixth edition, September 2022
API MPMS 8.3 | Standard Practice for Mixing and Handling of Liquid Samples of Petroleum and Petroleum Products | Second edition, September 2019
API MPMS 8.4 | Standard Practice for Sampling and Handling of Fuels for Volatility Measurements | Fifth edition, May 2020
API MPMS 8.5 | Standard Practice for Mixing and Handling of Liquid Samples of Petroleum and Petroleum Products | Second edition, September 2022
API MPMS 8.6 | Refrigerated Light Hydrocarbon Fluids—Sampling of Liquified Natural Gas—Continuous and Intermittent Methods (ISO 8943) | First edition, May 2020
API MPMS 9.4 | Continuous Density Measurement Under Dynamic (Flowing) Conditions | First edition, January 2018
API MPMS 10.4 | Determination of Water and/or Sediment in Crude Oil by the Centrifuge Method (Field Procedure) | Fourth edition, October 2013. Errata, March 2015
API MPMS 10.9 | Standard Test Method for Water in Crude Oils by Coulometric Karl Fischer Titration | Third edition, May 2013 | Reaffirmed in 2018
API MPMS 11.1 | Physical Properties Data. Section 1—Temperature and Pressure Volume Correction Factors for Generalized Crude Oils, Refined Products, and Lubricating Oils. Adjunct to ASTM D 1250-04 and IP 200/04 | May 2004. Addendum 1, September 2007. Addendum 2, May 2019
API MPMS 11.2.2M | Compressibility Factors for Hydrocarbons: 350–637 Kilograms per Cubic Metre Density (15°C) and –46°C to 60°C Metering Temperature. GPA 8286-86 (M) | First edition, October 1986 | Reaffirmed, September 2017
API MPMS 11.5 | Physical Properties Data. Section 5—Density/Weight/Volume. Intraconversion Part 3—Conversions for Absolute Density at 15 °C. Adjunct to ASTM D1250-08 and IP 200/08 | First edition, March 2009 | Reaffirmed, March 2020
API MPMS 12.2 | Manual of Petroleum Measurement Standards Chapter 12.2 - Calculation of Petroleum Quantities Using Dynamic Measurement Methods and Volumetric Correction Factors | Second edition, July 2021
API MPMS 12.2.1 | Calculation of Petroleum Quantities. Section 2—Calculation of Petroleum Quantities Using Dynamic Measurement Methods and Volumetric Correction Factors. Part 1—Introduction | Second edition, May 1995 | Reaffirmed, March 2014
API MPMS 12.2.3 | Calculation of Petroleum Quantities. Section 2—Calculation of Petroleum Quantities Using Dynamic Measurement Methods and Volumetric Correction Factors. Part 3—Proving Report | First edition, October 1998 | Reaffirmed, May 2014
API MPMS 12.2.4 | Calculation of Petroleum Quantities. Section 2—Calculation of Petroleum Quantities Using Dynamic Measurement Methods and Volumetric Correction Factors. Part 4—Calculation of Base Prover Volumes by the Waterdraw Method | First edition, December 1997 | Reaffirmed, January 2022
API MPMS 12.2.5 | Calculation of Petroleum Quantities. Section 2—Calculation of Petroleum Quantities Using Dynamic Measurement Methods and Volumetric Correction Factors. Part 5—Calculation of Base Prover Volume by Master Meter Method | First edition, September 2001. Errata, July 2009 | Reaffirmed, August 2016
API MPMS 13.2 | Statistical Aspects of Measuring and Sampling. Section 2—Methods of Evaluating Meter Proving Data | Second edition, April 2018
API MPMS 13.3 | Measurement uncertainty | Second edition, December 2017 | Reaffirmed, December 2022
API MPMS 14.1 | Natural Gas Fluids Measurement. Section 1—Collecting and Handling of Natural Gas Samples for Analysis by Gas Chromatography | Eighth edition, September 2022 | GPA 2166
API MPMS 14.7 | Natural Gas Fluids Measurement. Section 7—Mass Measurement of Natural Gas Liquids and Other Hydrocarbons | Fifth edition, February 2018
API MPMS 14.8 | Natural Gas Fluids Measurement. Section 8— Liquefied Petroleum Gas Measurement | Second edition, July 1997 | Reaffirmed, October 2011
API MPMS 14.10 | Natural Gas Fluids Measurement—Measurement of Flow to Flares | Second edition, December 2021
API MPMS 15 | Guidelines for the Use of Petroleum Industryspecific International System (SI) Units | Fourth edition, June 2019
API MPMS 20.1 | Allocation Measurement. Section 1-Allocation Measurement | First Edition; ADDENDUM 1: January 2013; ADDENDUM 2: November 2016; ADDENDUM 3: December 2017
API MPMS 20.2 | Production Allocation Measurement Using Single-phase Devices | First edition, November 2016
API MPMS 20.3 | Measurement of Multiphase Flow | First Edition, 2013 | Reaffirmed 2018
API MPMS 21.1 | Flow Measurement Using Electronic Metering Systems—Electronic Gas Measurement. ANSI/API MPMS Ch. Chapter 21.1 | Second edition, February 2013. (AGA report no. 13)
API MPMS 21.2 | Flow Measurement Using Electronic Metering Systems. Section 2—Electronic Liquid Volume Measurement Using Positive Displacement and Turbine Meters | First edition, June 1998 | Reaffirmed, October 2016
API TR 2578 | Flow Conditioner Installation and Effects on Turbine Meters | First edition, 2017
API TR 2579 | Liquid Hydrocarbon Measurement Uncertainty Calculations | First edition, 2020

## ASME
Reference | Title | Edition | Note
ASME PTC 19.3 TW | Thermowells. Performance Test Codes | Current edition approved 2016

## ASTM
Reference | Title | Edition | Note
ASTM D1945 - 14 | Standard Test Method for Analysis of Natural Gas by Gas Chromatography | Current edition approved 2019
ASTM D4928 – 12 | Standard Test Method for Water in Crude Oils by Coulometric Karl Fischer Titration | Current edition approved 2018
ASTM D5002 - 22 | Standard Test Method for Density, Relative Density, and API Gravity of Crude Oils by Digital Density Analyzer | Current edition approved 2022
ASTM D5842-19 | Standard Practice for Sampling and Handling of Fuels for Volatility Measurement | Current edition approved 2019
ASTM D5854-19a | Standard Practice for Mixing and Handling of Liquid Samples of Petroleum and Petroleum Products | Current edition approved 2019

## BIPM
Reference | Title | Edition | Note
BIPM - SI brochure | The International System of Units (SI) | 9th edition 2019. V2.01 December 2022

## GIIGNL
Referanse | Title | Edition
LNG Handbook | LNG Custody Transfer Handbook | Edition 6, 2021

## IEC
Referanse | Title | Edition | Note
IEC 60751 | Industrial platinum resistance thermometers and platinum temperature sensors | Edition 3, 2022
IEC 60050 | International Electrotechnical Vocabulary (IEV) - Part 300: Electrical and electronic measurements and measuring instruments | Edition 1, 2001

## ISO
Referanse | Title | Edition | Note
ISO 91 | Petroleum and related products — Temperature and pressure volume correction factors (petroleum measurement tables) and standard reference conditions | Edition 1, 2017 | Reviewed and confirmed in 2022
ISO 2186 | Fluid flow in closed conduits — Connections for pressure signal transmissions between primary and secondary elements | Edition 2, 2007 | Reviewed and confirmed in 2020
ISO 2714 | Liquid hydrocarbons — Volumetric measurement by displacement meter | Edition2, 2017 | Reviewed and confirmed in 2023
ISO 2715 | Liquid hydrocarbons — Volumetric measurement by turbine flowmeter | Edition 2, 2017 | Reviewed and confirmed in 2023
ISO 3170 | Petroleum liquids — Manual sampling | Edition 3, 2004 | Reviewed and confirmed in 2020
ISO 3171 | Petroleum liquids — Automatic pipeline sampling | Edition 2, 1988
ISO 4006 | Measurement of fluid flow in closed conduits — Vocabulary and symbols | Edition 2, 1991 | Reviewed and confirmed in 2019
ISO 4124 | Liquid hydrocarbons — Dynamic measurement — Statistical control of volumetric metering systems | Edition 1, 1994 | Reviewed and confirmed in 2021
ISO 4267-2 | Petroleum and liquid petroleum products — Calculation of oil quantities — Part 2: Dynamic measurement | Edition1, 1988 | Reviewed and confirmed in 2022
ISO 5167-1 | Measurement of fluid flow by means of pressure differential devices inserted in circular cross-section conduits running full — Part 1: General principles and requirements | Edition 3, 2022
ISO 5167-2 | Measurement of fluid flow by means of pressure differential devices inserted in circular cross-section conduits running full — Part 2: Orifice plates | Edition 2, 2022
ISO 5167-3 | Measurement of fluid flow by means of pressure differential devices inserted in circular cross-section conduits running full — Part 3: Nozzles and Venturi nozzles | Edition 3, 2022
ISO 5167-4 | Measurement of fluid flow by means of pressure differential devices inserted in circular cross-section conduits running full — Part 4: Venturi tubes | Edition 2, 2022
ISO 5167-5 | Measurement of fluid flow by means of pressure differential devices inserted in circular cross-section conduits running full — Part 5: Cone meters | Edition 2, 2022
ISO 5168 | Measurement of fluid flow — Procedures for the evaluation of uncertainties | Edition 2, 2005 | Reviewed and confirmed in 2020
ISO 6551 | Petroleum liquids and gases — Fidelity and security of dynamic measurement — Cabled transmission of electric and/or electronic pulsed data | Edition 1 1982. | Reviewed and confirmed in 2021
ISO 6578 | Refrigerated hydrocarbon liquids – Static measurement – Calculation procedure | Edition 2, 2017
ISO 6974-1 | Natural gas — Determination of composition and associated uncertainty by gas chromatography — Part 1: General guidelines and calculation of composition | Edition 2, 2012 | Reviewed and confirmed in 2018
ISO 6974-2 | Natural gas — Determination of composition and associated uncertainty by gas chromatography — Part 2: Uncertainty calculations | Edition 2, 2012 | Reviewed and confirmed in 2018
ISO 6974-3 | Natural gas — Determination of composition and associated uncertainty by gas chromatography — Part 3: Precision and bias | Edition 2, 2018
ISO 6974-4 | Natural gas — Determination of composition with defined uncertainty by gas chromatography — Part 4: Determination of nitrogen, carbon dioxide and C1 to C5 and C6+ hydrocarbons for a laboratory and on-line measuring system using two columns | Edition 1, 2000 | Reviewed and confirmed in 2019
ISO 6974-5 | Natural gas — Determination of composition and associated uncertainty by gas chromatography — Part 5: Isothermal method for nitrogen, carbon dioxide, C1 to C5 hydrocarbons and C6+ hydrocarbons | Edition 2, 2014 | Reviewed and confirmed in 2019
ISO 6974-6 | Natural gas — Determination of composition with defined uncertainty by gas chromatography — Part 6: Determination of hydrogen, helium, oxygen, nitrogen, carbon dioxide and C1 to C8 hydrocarbons using three capillary columns | Edition 1, 2002 | Reviewed and confirmed in 2019
ISO 6976 | Natural gas — Calculation of calorific values, density, relative density and Wobbe indices from composition | Edition 3, 2016 | Reviewed and confirmed in 2022
ISO 7278-1 | Liquid hydrocarbons — Dynamic measurement — Proving systems for volumetric meters — Part 1: General principles | Edition 1, 1987 | Reviewed and confirmed in 2021
ISO 7278-2 | Liquid hydrocarbons — Dynamic measurement — Proving systems for volumetric meters — Part 1: Pipe provers | Edition 2, 2022
ISO 7278-3 | Liquid hydrocarbons — Dynamic measurement — Proving systems for volumetric meters — Part 3: Pulse interpolation techniques | Edition 2, 1998 | Reviewed and confirmed in 2021
ISO 7504 | Gas analysis — Vocabulary | Edition 3, 2015 | Reviewed and confirmed in 2021
ISO 8310 | Refrigerated hydrocarbon and non-petroleum based liquefied gaseous fuels — General requirements for automatic tank thermometers on board marine carriers and floating storage | Edition 2, 2012 | Reviewed and confirmed in 2018
ISO 8943 | Refrigerated light hydrocarbon fluids — Sampling of liquefied natural gas — Continuous and intermittent methods | Edition 2, 2007 | Reviewed and confirmed in 2016
ISO 9001 | Quality management systems — Requirements | Edition 5, 2015 | Reviewed and confirmed in 2021
ISO 9029 | Crude petroleum — Determination of water — Distillation method | Edition 1, 1990 | Reviewed and confirmed in 2019
ISO 9030 | Crude petroleum — Determination of water and sediment — Centrifuge method | Edition 1, 1990 | Reviewed and confirmed in 2019
ISO/TR 9464 | Guidelines for the use of ISO 5167:2003 | Edition 2, 2008 | Reviewed and confirmed in 2019
ISO 9951 | Measurement of gas flow in closed conduits — Turbine meters | Edition 1, 1993 | Reviewed and confirmed in 2021
ISO 10012 | Measurement management systems — Requirements for measurement processes and measuring equipment | Edition1, 2003 | Reviewed and confirmed in 2022
ISO 10337 | Crude petroleum — Determination of water — Coulometric Karl Fischer titration method | Edition 1, 1997 | Reviewed and confirmed in 2019
ISO 10715 | Natural gas — Gas sampling | Edition 2, 2022
ISO 10723 | Natural gas — Performance evaluation for analytical systems | Edition 2, 2012 | Reviewed and confirmed in 2019
ISO 10790 | Measurement of fluid flow in closed conduits — Guidance to the selection, installation and use of Coriolis flowmeters (mass flow, density and volume flow measurements) | Edition 3, 2015 | Reviewed and confirmed in 2020
ISO 10976 | Refrigerated light hydrocarbon fluids – Measurements of cargoes on board LNG carriers | Edition 2, 2015
ISO/TR 11583 | Measurement of wet gas flow by means of pressure differential devices inserted in circular cross-section conduits | Edition 1, 2012 | Reviewed and confirmed in 2022
ISO 11631 | Measurement of fluid flow — Methods of specifying flowmeter performance | Edition 1, 1998 | Reviewed and confirmed in 2020
ISO 12185 | Crude petroleum and petroleum products — Determination of density — Oscillating U-tube method — Technical Corrigendum 1 | Edition 1 (Cor 1), 2001
ISO 12213-1 | Natural gas — Calculation of compression factor — Part 1: Introduction and guidelines | Edition 2, 2006 | Reviewed and confirmed in 2020
ISO 12213-2 | Natural gas — Calculation of compression factor — Part 2: Calculation using molar-composition analysis | Edition 2, 2006 | Reviewed and confirmed in 2020
ISO 12213-3 | Natural gas — Calculation of compression factor — Part 3: Calculation using physical properties | Edition 2, 2006 | Reviewed and confirmed in 2021
ISO 12242 | Measurement of fluid flow in closed conduits — Ultrasonic transit-time meters for liquid | Edition 1, 2012 | Reviewed and confirmed in 2020
ISO/TR 12748 | Natural Gas — Wet gas flow measurement in natural gas operations | Edition 1, 2015
ISO/TR 12767 | Measurement of fluid flow by means of pressure differential devices — Guidelines on the effect of departure from the specifications and operating conditions given in ISO 5167 | Edition 2, 2007 | Reviewed and confirmed in 2019
ISO 13443 | Natural gas — Standard reference conditions | Edition 1, 1996 | Reviewed and confirmed in 2020
ISO/TR 14749 | Natural gas — Online gas chromatograph for upstream area | Edition 1, 2016
ISO 15112 | Natural gas — Energy determination | Edition 3, 2018
ISO/TR 15377 | Measurement of fluid flow by means of pressure-differential devices — Guidelines for the specification of orifice plates, nozzles and Venturi tubes beyond the scope of ISO 5167 | Edition 3, 2018
ISO 15970 | Natural gas — Measurement of properties — Volumetric properties: density, pressure, temperature and compression factor | Edition 1, 2008 | Reviewed and confirmed in 2022
ISO 15971 | Natural gas — Measurement of properties — Calorific value and Wobbe index | Edition1, 2008 | Reviewed and confirmed in 2020
ISO/IEC 17025 | General requirements for the competence of testing and calibration laboratories | edition 3, 2017. Corrected version 2018.
ISO 17089-1 | Measurement of fluid flow in closed conduits — Ultrasonic meters for gas — Part 1: Meters for custody transfer and allocation measurement | Edition 2, 2019
ISO 17089-2 | Measurement of fluid flow in closed conduits - Ultrasonic meters for gas — Part 2: Meters for industrial applications | Edition 1, 2012 | Reviewed and confirmed in 2020
ISO 19011 | Guidelines for auditing management systems | Edition 3, 2018
ISO 20765-1 | Natural gas — Calculation of thermodynamic properties — Part 1: Gas phase properties for transmission and distribution applications | Edition 1, 2005 | Reviewed and confirmed in 2021
ISO 20765-2 | Natural gas — Calculation of thermodynamic properties — Part 2: Single-phase properties (gas, liquid, and dense fluid) for extended ranges of application | Edition 1, 2015 | Reviewed and confirmed in 2020
ISO/TC 21354 | Measurement of multiphase fluid flow | Edition 1, 2020
ISO/TR 26762 | Natural gas — Upstream area — Allocation of gas and condensate | Edition 1, 2008 | Reviewed and confirmed in 2017
ISO/TR 29922 | Natural gas — Supporting information on the calculation of physical properties according to ISO 6976 | Edition 1, 2017
ISO 31000 | Risk management — Guidelines | Edition 2, 2018
ISO 80000-1 | Quantities and units — Part 1: General | Edition 2, 2022
ISO Guide 73 | Risk management — Vocabulary | Edition 1, 2009
ISO/IEC Guide 98-1 | Uncertainty of measurement — Part 1: Introduction to the expression of uncertainty in measurement | Edition 1, 2009 | Reviewed and confirmed in 2015
ISO/IEC Guide 98-3 | Uncertainty of measurement — Part 3: Guide to the expression of uncertainty in measurement (GUM:1995) | Edition 1, 2008. Corrected version 2010 Supplement 1:2008/Cor 1:2009
ISO/IEC Guide 98-4 | Uncertainty of measurement — Part 4: Role of measurement uncertainty in conformity assessment | edition 1, 2012 | Reviewed and confirmed in 2021
ISO/IEC Guide 98-6 | Uncertainty of measurement — Part 6: Developing and using measurement models | Edition 1, 2021

## JCGM
Referanse | Title | Edition | Note
JCGM 100 | Evaluation of measurement data — Guide to the expression of uncertainty in measurement (GUM 1995 with minor corrections) | Edition 1, 2008
JCGM 104 | Evaluation of measurement data — An introduction to the “Guide to the expression of uncertainty in measurement” and related documents | Edition 1, 2009
JCGM 106 | Evaluation of measurement data – The role of measurement uncertainty in conformity assessment | Edition 2012
JCGM GUM-6 | Guide to the expression of uncertainty in measurement — Part 6: Developing and using measurement models | Edition 1, 2020
JCGM 200 | International vocabulary of metrology – Basic and general concepts and associated terms (VIM) | Edition 3, 2012

## NFOGM
Reference | Title | Edition
Handbook (oil) | Handbook of uncertainty calculations for ultrasonic oil flow metering stations. Documentation of uncertainty models and internet tool | Rev. 0 2020
Program (oil) | Fiscal Oil Metering Station Uncertainty | Published 2015 Updated 2020
Handbook (gas) | Handbook for uncertainty calculations for gas flow metering stations. Documentation of uncertainty models and internet tool | Rev. 0 2020
Program (gas) | Fiscal Gas Metering Station Uncertainty | Published 2013 Updated 2020
Handbook (multiphase) | Handbook of Multiphase Flow Metering | Rev. 2, 2005
Program (multiphase) | Multiphase Flow Metering | Published 2005

## NORSOK
Referanse | Title | Edition | Note
NORSOK I-001 | Field instrumentation | Edition 5, March 2019
NORSOK I-106 | Fiscal metering systems for hydrocarbon liquid and gas | Edition 1, November 2014 | Edition 2 under development

## Offshore Norge
Referanse | Title | Edition
ON 044 | 044 - Recommended guidelines for discharge and emission reporting | Version 20, 2022
ON 044 Appendix B | Handbook for quantifying direct methane and NMVOC emissions | Version 20, 2022

## OIML
Referanse | Title | Edition | Note
OIML R117-1 | Dynamic measuring systems for liquids other than water. Part 1: Metrological and technical requirements | Edition 2019
OIML R117-2 | Dynamic measuring systems for liquids other than water. Part 2: Metrological controls and performance tests | Edition 2019
OIML R117-3 | Dynamic measuring systems for liquids other than water. Part 3: Test report format | Edition 2019
OIML R137-1&2 | Gas meters. Part 1: Metrological and technical requirements. Part 2: Metrological controls and performance tests | Edition 2012. Including Amendment 2014
OIML R137-3 | Gas meters. Part 3: Test report format | Edition 2014
OIML D 2 | Quantities and units — Part 1: General | Edition 2007
OIML D 10 | Guidelines for the determination of calibration intervals of measuring instruments | Edition 2007
OIML D 11 | General requirements for measuring instruments - Environmental conditions | Edition 2013
OIML D 35 | Petroleum measurement tables | Edition 2020
OIML D 36 | Pipe provers for verification and calibration of measuring systems for liquids | Edition 2020
OIML G 19 | The role of measurement uncertainty in conformity assessment decisions in legal metrology | Edition 2017